Cross Connection Control Testing & Inspection Sheet

Address of Device Occupant Contact Telephone Number

Owner Address of Owner Postal Code Telephone Number

Serial Number Make Model Size Install Date Year Mo D Building

Installed on Water System Location of Assembly (Room / Number) ( Domestic ( Fire ( Irrigation ( Make-up Water ( Other

Tester Awareness Number Tester Equipment Number Tester’s Name Telephone Number

Business Name Business Address Postal Code Fax Number

Type of Test Type of Device ( Initial ( Annual ( Repair ( Replaces Serial # ( RP ( APF ( DCVA ( DCVAF ( SCVAF ( PVB

RP / RPF Assembly DCVA DCVAF SCVAF PVB Assembly Shut Off Valves Check Valve # 2 Check Valve # 1 Check Valve # 1 Check Valve # 2 Air Inlet Valve Check Valve # 1 # 2 T ( Relief Valve Failed to Open ( Leaked ( Leaked ( Leaked ( Leaked ( Failed to Open ( Leaked ( Leaked ( E ( Closed Tight ( Closed Tight ( Closed Tight ( Closed Tight ( Closed Tight ( Opened ( Closed ( S T Pressure Differential Across 1st Check Valve A ……………….. psi / kpa Opening Point of Relief Valve ( 2 psi or greater) B ……………….. psi / kpa Buffer ( 3 psi or greater) A – B = C C ……………….. psi / kpa Year Mo Day Static Inlet Line Pressure at Time of Test ……………………………. psi / kpa Test Date Test Result ( Passed ( Failed

R If this device fails the initial test for any reason, complete the sections below noting the repairs and retest results E P Check applicable valves ( Relief ( Check # 1 ( Check # 2 ( Air Inlet Valve ( Shut Off Valve A Check applicable Repair ( Cleaned / Replaced ( Disc ( Spring ( Diaphragm ( Seat ( Guide ( O-Rings ( Poppet ( Repair Kit I R

RP / RPF Assembly DCVA DCVAF SCVAF PVB Assembly Shut Off Valves R Check Valve # 2 Check Valve # 1 Check Valve # 1 Check Valve # 2 Air Inlet Valve Check Valve # 1 # 2 E ( Relief Valve Failed to Open ( Leaked ( Leaked ( Leaked ( Leaked ( Failed to Open ( Leaked ( Leaked ( T ( Closed Tight ( Closed Tight ( Closed Tight ( Closed Tight ( Closed Tight ( Opened ( Closed ( E S Pressure Differential Across 1st Check Valve A ……………….. psi / kpa T Opening Point of Relief Valve ( 2 psi or greater) B ……………….. psi / kpa Buffer ( 3 psi or greater) A – B = C C ……………….. psi / kpa Year Mo Day Static Inlet Line Pressure at Time of Test ……………………………. psi / kpa Retest Date Test Result ( Passed ( Failed

I certify the above device has been tested in accordance with and Cross Connection Control Manual WC AWWA Signature of Certified Tester Date Year Mo Da Signature of Owner / Tennant Date Year Mo Da Remarks / Comments